ITE2 Worksheet 7.1.3 Planning the Installation

1. Name five items you need to verify prior to the actual installation.

2. List two things that need to be checked at the installation site before bringing in the equipment?

3. What is a digital multimeter? What would a correct reading be if you were in Africa?

4. What does UPS stand for? And how large should a UPS be for a server room?

5. What is the heat load of a server room measured in?

6. What is the ideal temperature in a server room?

7. What will ensure proper airflow and adequate cooling in the server room?

8. Why is it a good idea to test the network connection before installing?